## Sheet2
Fairmount Part Number | Part Description
Multi Loop Controllers
01003-421 | FAC-2100+ Digital Controller with DC Input Power and 28VDC Output
01003-422 | FAC-2100+ Digital Controller with DC Input Power, 28VDC Output, and Solid-State Relays
Power Supply Modules
ACP-1 - Chameleon 25W AC Power Supply Module
01012-001 | ACP-1 with Gray Enclosure
01012-301 | ACP-1 with Black Enclosure (without Stuffing Tubes)
11015-200 | ACP-1 Active Board and Gray Cover
11015-250 | ACP-1 Active Board and Black Cover
01014-001 | ACP-1 Half-Size Gray Enclosure with Wiring Hub Assembly
01014-301 | ACP-1 Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11016-100 | ACP-1 Wiring Hub Assembly
ACP-1PA - Chameleon 25W AC Power Supply Module with Power Access
01012-020 | ACP-1PA with Gray Enclosure
01012-320 | ACP-1PA with Black Enclosure (without Stuffing Tubes)
11015-200 | ACP-1PA Active Board and Gray Cover
11015-250 | ACP-1PA Active Board and Black Cover
01014-020 | ACP-1PA Half-Size Gray Enclosure with Wiring Hub Assembly
01014-320 | ACP-1PA Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11052-100 | ACP-1PA Wiring Hub Assembly
DCP-1 - Chameleon 25W DC Power Supply Module
01012-007 | DCP-1 with Gray Enclosure
01012-307 | DCP-1 with Black Enclosure (without Stuffing Tubes)
11043-200 | DCP-1 Active Board and Gray Cover
11043-250 | DCP-1 Active Board and Black Cover
01014-007 | DCP-1 Half-Size Gray Enclosure with Wiring Hub Assembly
01014-307 | DCP-1 Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11044-100 | DCP-1 Wiring Hub Assembly
Process Control and Analog Modules
AIN-1+ - Chameleon Analog Input Module (Type 1+)
01012-413 | AIN-1+ with Gray Enclosure
01012-713 | AIN-1+ with Black Enclosure (without Stuffing Tubes)
01014-413 | AIN-1+ Full-Size Gray Enclosure with Wiring Hub Assembly
01014-713 | AIN-1+ Full-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11122-200 | AIN-1+ Active Board and Gray Cover
11122-250 | AIN-1+ Active Board and Black Cover
11122-260 | AIN-1+ Active Board and Metal Cover
PCM-1+ - Chameleon Process Control Module (Type 1+)
01012-400 | PCM-1+ with Gray Enclosure
01012-700 | PCM-1+ with Black Enclosure (without Stuffing Tubes)
01014-400 | PCM-1+ Full-Size Gray Enclosure with Wiring Hub Assembly
01014-700 | PCM-1+ Full-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11121-200 | PCM-1+ Active Board and Gray Full-Size Cover
11121-250 | PCM-1+ Active Board and Black Full-Size Cover
Supervisory Circuit and Alarm Modules
ASM-1+ - Alarm Switchboard Module (Type 1+)
01012-465 | ASM-1+ with Gray Enclosure
01012-765 | ASM-1+ with Black Enclosure (without Stuffing Tubes)
01014-465 | ASM-1+ Full-Size Gray Enclosure with Wiring Hub Assembly
01014-765 | ASM-1+ Full-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11123-200 | ASM-1+ Active Board and Gray Cover
11123-250 | ASM-1+ Active Board and Black Cover
Discrete Automation and Digital Modules
DAM-1+ - Chameleon Discrete Automation Module (Type 1+)
01012-403 | DAM-1BK+ with Gray Enclosure
01012-703 | DAM-1BK+ with Black Enclosure (without Stuffing Tubes)
01012-726 | DAM-1ISO+ with Black Enclosure (without Stuffing Tubes)
01014-403 | DAM-1BK+ Full-Sized Gray Enclosure with Wiring Hub Assembly
01014-426 | DAM-1ISO+ Full Size Gray Enclosure and Wiring Hub
01014-703 | DAM-1BK+ Full-Sized Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
01014-726 | DAM-1ISO+ Full Size Black Enclosure and Wiring Hub (without Stuffing Tubes)
11133-202 | DAM-1+ Active Board and Gray Cover
11133-252 | DAM-1+ Active Board and Black Cover
DAM-2+ - Chameleon Discrete Automation Module (Type 2+)
01012-414 | DAM-2BK+ with Gray Enclosure
01012-419 | DAM-2ISO+ with Gray Enclosure
01012-714 | DAM-2BK+ with Black Enclosure (without Stuffing Tubes)
01012-719 | DAM-2ISO+ with Black Enclosure (without Stuffing Tubes)
01014-414 | DAM-2BK+ Full Size Gray Enclosure and Wiring Hub Assembly
01014-419 | DAM-2ISO+ Full-Size Gray Enclosure with Wiring Hub Assembly
01014-714 | DAM-2BK+ Full Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
01014-719 | DAM-2ISO+ Full-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11133-200 | DAM-2+ Active Board and Gray Cover
11133-250 | DAM-2+ Active Board and Black Cover
DAM-3+ - Chameleon Discrete Automation Module (Type 3+)
01012-472 | DAM-3ISO+ with Gray Enclosure
01012-773 | DAM-3ISO+ with Black Enclosure (without Stuffing Tubes)
01014-473 | DAM-3ISO+ Full-Size Gray Enclosure with Wiring Hub Assembly
01014-773 | DAM-3ISO+ Full-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11124-200 | DAM-3+ Active Board and Gray Cover
11124-250 | DAM-3+ Active Board and Black Cover
11124-260 | DAM-3+ Active Board and Metal Cover
Network Interface Modules
NIM-1+ - Chameleon RS-485 Network Interface Module (Type 1+)
01012-402 | NIM-1+ with Gray Enclosure
01012-702 | NIM-1+ with Black Enclosure (without Stuffing Tubes)
01014-402 | NIM-1+ Half-Size Gray Enclosure with Wiring Hub Assembly
01014-702 | NIM-1+ Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11132-200 | NIM-1+ Active Board and Gray Cover
11132-250 | NIM-1+ Active Board and Black Cover
NIM-4+ - Chameleon RS-232 Network Interface Module (Type 4+)
01012-410 | NIM-4+ with Gray Enclosure
01012-710 | NIM-4+ with Black Enclosure (without Stuffing Tubes)
01014-410 | NIM-4+ Half-Size Gray Enclosure with Wiring Hub Assembly
01014-710 | NIM-4+ Half-Size Back Enclosure with Wiring Hub Assembly (without Stuffing Tubes)
11132-202 | NIM-4+ Active Board and Gray Cover
11132-252 | NIM-4+ Active Board and Black Cover
NIM-6+ - Chameleon TP/FP-10 Network Interface Module (Type 6+)
01012-417 | NIM-6+ with Gray Enclosure
01012-717 | NIM-6+ with Black Enclosure (without Stuffing Tubes)
01014-417 | NIM-6+ Half-Size Gray Enclosure with Wiring Hub Assembly
01014-717 | NIM-6+ Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11134-200 | NIM-6+ Active Board and Gray Cover
11134-250 | NIM-6+ Active Board and Black Cover
NIM-8+ / NIM-9+ - Chameleon Ethernet Network Interface Modules (Type 8+ / Type 9+)
01012-406 | NIM-8+ with Gray Enclosure
01012-430 | NIM-8TF+ with Gray Enclosure
01012-447 | NIM-8ST1+ with Gray Enclosure
01012-450 | NIM-8ST2+ with Gray Enclosure
01012-471 | NIM-8STS1 with Gray Enclosure
01012-706 | NIM-8+ with Black Enclosure (without Stuffing Tubes)
01012-730 | NIM-8TF+ with Black Enclosure (without Stuffing Tubes)
01012-747 | NIM-8ST1+ (1 Multimode ST Fiber) with Black Enclosure (without Stuffing Tubes)
01012-750 | NIM-8ST2+ (2 Multimode ST Fiber) with Black Enclosure (without Stuffing Tubes)
01012-771 | NIM-8STS1 (1 Single Mode ST Fiber) with Black Enclosure (without Stuffing Tubes)
01014-406 | NIM-8+ Full-Size Gray Enclosure with Wiring Hub & Daughter Board Assemblies
01014-430 | NIM-8TF+ Full-Sized Gray Enclosure with Wiring Hub & Daughter Board Assemblies
01014-447 | NIM-8ST1+ (1 Multimode ST Fiber) Full-Sized Gray Enclosure with Wiring Hub & Daughter Board Assemblies
01014-450 | NIM-8ST2+ (2 Multimode ST Fiber) Full-Sized Gray Enclosure with Wiring Hub & Daughter Board Assemblies
01014-471 | NIM-8STS1 (1 Single Mode ST Fiber) Full-Sized Gray Enclosure with Wiring Hub & Daughter Board Assemblies
01014-706 | NIM-8+ Full-Size Black Enclosure and Wiring Hub & Daughter Board Assemblies (without Stuffing Tubes)
01014-730 | NIM-8TF+ Full-Sized Black Enclosure and Wiring Hub & Daughter Board Assemblies (without Stuffing Tubes)
01014-747 | NIM-8ST1+ (1 Multimode ST Fiber) Full-Sized Black Enclosure and Wiring Hub & Daughter Board Assemblies (without Stuffing Tubes)
01014-750 | NIM-8ST2+ (2 Multimode ST Fiber) Full-Sized Black Enclosure and Wiring Hub & Daughter Board Assemblies (without Stuffing Tubes)
01014-771 | NIM-8STS1+ (1 Single Mode ST Fiber) Full-Sized Black Enclosure and Wiring Hub & Daughter Board Assemblies (without Stuffing Tubes)
11125-200 | NIM-8+ Active Board and Gray Cover
11125-250 | NIM-8+ Active Board and Black Cover
11125-260 | NIM-8+ Active Board and Metal Cover
01012-506 | NIM-9+ with Gray Enclosure
01014-806 | NIM-9+ Full-Size Black Enclosure and Wiring Hub & Daughter Board Assemblies (without Stuffing Tubes)
11129-200 | NIM-9+ Active Board and Gray Cover
11129-250 | NIM-9+ Active Board and Black Cover
11129-260 | NIM-9+ Active Board and Metal Cover
User Configurable Modules
UCM-1 - Chameleon User-Configurable Module (Full Size)
01012-004 | UCM-1 with Gray Enclosure
01012-304 | UCM-1 with Black Enclosure (without Stuffing Tubes)
11021-200 | UCM-1 Blank Active Board and Gray Cover
11021-250 | UCM-1 Blank Active Board and Black Cover
01014-004 | UCM-1 Full-Size Gray Enclosure with Wiring Hub Assembly
01014-304 | UCM-1 Full-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11022-100 | UCM-1 Wiring Hub Assembly
UCM-1FHG - Chameleon UCM-1 with Fuse Holder
01012-066 | UCM-1FHG with Gray Enclosure
UCM-2 - Chameleon User-Configurable Module (Half Size)
01012-005 | UCM-2 with Gray Enclosure
01012-305 | UCM-2 with Black Enclosure (without Stuffing Tubes)
11023-200 | UCM-2 Blank Active Board and Gray Cover
11023-250 | UCM-2 Blank Active Board and Black Cover
01014-005 | UCM-2 Half-Size Gray Enclosure with Wiring Hub Assembly
01014-305 | UCM-2 Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11024-100 | UCM-2 Wiring Hub Assembly
UCM-2NB - Chameleon UCM-2 Node Break Module
01012-011 | UCM-2NB with Gray Enclosure
01012-311 | UCM-2NB with Black Enclosure (without Stuffing Tubes)
11023-200 | UCM-2 Blank Active Board and Gray Cover
11023-250 | UCM-2 Blank Active Board and Black Cover
01014-011 | UCM-2NB Half-Size Gray Enclosure and Wiring Hub Assembly
01014-311 | UCM-2NB Half-Size Black Enclosure and Wiring Hub Assembly (without Stuffing Tubes)
11038-100 | UCM-2NB Wiring Hub Assembly
Node Mounting Hardware
21025-000 | Node End Cap - Gray
21025-250 | Node End Cap - Black
21026-000 | Standard Mouting Foot - Gray
21026-100 | Standard Mouting Foot - Black
21027-000 | DIN-Rail Mounting Foot - Gray
21027-100 | DIN-Rail Mounting Foot - Black
21027-001 | High Performance Mounting Foot - Grey
21045-300 | 2nd Generation High Performance Mounting Foot - Grey
21045-100 | 2nd Generation High Performance Mounting Foot - Black
Miscellaneous Node Accessories
30140-009 | Label Sheets
01001-016 | Backplane Cable
01020-150 | Backplane Terminator
30110-008 | Grounding Strap
30094-015 | Stuffing Tube Black Nylon 1/2” NPT Thread
30094-016 | Stuffing Tube Black Nylon 3/8” NPT Thread
30094-041 | Stuffing Tube EMI Strain Relief 3/8" NPT Thread
30094-042 | Stuffing Tube EMI Strain Relief 1/2" NPT Thread
30094-043 | 5/16" Stuffing Tube Plug
30094-044 | 7/16" Stuffing Tube Plug
Communications Cables and Holders
01004-002 | USB to IRDA adaptor
21029-000 | IRDA Holder
01004-102 | USB to IRDA adaptor with Holder
01004-001 | RS-232 Serial Port to IRDA adaptor
01004-101 | RS-232 Serial Port to IRDA adaptor with Holder
01004-000 | COM1 to 9 & 25 pin D RS-232 PC Serial Cable (5ft)
Software
92008-000 | FairNET OPC Server for Chameleon
92004-000 | FairNET OPC Server for FAC-2100
92009-000 | Schema Viewer G3
92009-300 | Schema Viewer G4
92007-000 | Design Pad G3
92007-100 | Design Pad G4
92001-000 | FAC-2100 Multi-Loop Controller Network License
Replacement Parts
FAC-2100+ Parts
01001-007 | FAC Bezel Gasket
01001-008 | FAC Locking Clamp Gasket
01001-009 | FAC Side Access Panel Gasket
01001-010 | FAC Connector Panel Gasket
21001-000 | FAC Bezel
21002-000 | FAC Enclosure
21003-000 | FAC Side Access Panel
21004-001 | FAC DC Connector Panel
21005-000 | FAC Locking Clamp
30070-000 | FAC User Interface Keypad
Chameleon Parts
50050-006 | Chameleon Full-Size Cover O-Ring
50050-007 | Chameleon Half-Size Cover O-Ring